## SensiFAST 1x probe
Goal: Based on E291, SYBR has better asym PCR curve - want to better understand how we can tune Tm of blocked probe to WT RC (geneblock PCR product) such that we can eventually move it closer to LDNA iFRET TXR Tm. PCR+melt: hold primer conc constant, no LDNA, just WT PCR product, vary blovked probe conc up and down - 0.25X, 1X (matches copy count produced by 250nM excess primer - so 7.525E12c/uL), 2.5X, 5X blocked probe per rxn
294 - SensiFAST Probe No Rox
Date | 2024-09-05
|  |  | # of Samples | 5 |  |  |  |  | Build off Expt E291 cycling Quant - iFRET |  |  |  | tip: place NTC wells on top left to avoid contamination during target pipetting
Kit = SensiFAST Probe No-ROX Kit (BIO-86005) |  | WT with SYBR no LDNA - 7.525E12c/uL (1X matches excess primer) | [6 empty] | PCR + post-melt: 0.025C/s on continuous melt per literature support |  |  | Target @ 2uL/rxn of 10^6 c/uL
LOT = # SFPN-323308A |  |  | # of Rxns | [6 empty] | Temp (ºC) | Time (mm:ss) | 0.25X probe WT |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  |  | 1 | 7 |  |  |  |  | Polymerase Activation | 95 | 2:00 | 1X probe WT | A
Component | [Working] | [Final Rxn uM] | Single Rxn Vol (uL) | Full Rxn Vol (uL) | Check off Component |  |  |  | Melt / Denaturation (Cycling A) | 95 | 0:05 | 2.5X probe WT | B
Nuclease-free water |  |  | 4 | 28 |  | Nuclease-free water |  |  | Anneal / Extension (Cycling B) *acquire* | 57 | 0:20 | 5X probe WT | C | 2: 0.25X; 7: 0.25X WT
rpoB F Primer (MEP352) | 10 uM | 0.25 | 0.5 | 3.5 |  | rpoB F Primer (MEP352) |  |  | # of cycles | 40 |  | 0.25X probe NTC | D | 2: 1X; 7: 1X WT
rpoB R Primer (MEP353) | 1 uM | 0.025 | 0.5 | 3.5 |  | rpoB R Primer (MEP353) |  |  | Anneal / Hybridiization of L-DNA *aquire* | 95C to 50C |  | 1X probe NTC | E | 2: 2.5X; 7: 2.5X WT
SensiFAST Probe No-ROX Kit | 2X | 1X | 10 | 70 |  | SensiFAST Probe No-ROX Kit |  |  | Melt Analysis *aquire* | 65C to 90C |  | 2.5X probe NTC | F | 2: 5X; 7: 5X WT
SYBR Green I | 10X | 1X | 2 | 14 |  | SYBR Green I |  |  | Custom melt // targets: no passive reference, optical filters x1 (excitation 470+/-15nm), m1 (emission 520+/-15nm), m4 (emission 623+/-14nm), reporters: SYBR-none with ROX-none |  |  | 5X probe NTC | G
H
| c/uL probe (below) | c/uL probe (below) | [11 empty] | 2: NTC; 7: WT
Blocked Melt Probe = MEP477 (C3+ rpoB WT @ I491) | 7525000000000 | 7525000000000 | 1 | 7 | Probe |  |  |  | PCR: 1.6C/s to 95C 2m, 1.6C/s to 95C 5s, 1.6C/s to 57C, 20s acq (40X PCR 95/57) |  |  | Per Rxn
Target = WT Geneblock (MEP491-2) @ 10^6c/uL vs water (NTC) | 10^6 c/uL |  | 2 | Add sep | Target | [6 empty] | Vary probe addn per rxn | Prep MM tube per strand conc
|  | total volume | 20 | [5 empty] | Melt: 1.6C/s to 95C 2m, 0.1C/s to 50C 15s, 1.6C/s to 65C 1m, 0.025C/s acq continuous to 90C 15s |  |  | Add 2uL tgt (10^6c/uL) or water per rxn | 1 | 1: Add 1.75uL probe to 0.25X MM
15 min UV light in clean hood |  | sum | 20 | 119 |  | Prep new MEP477 I491 blocked probe aliq | [6 empty] | 2 | 1: Add 7uL probe to 1X MM
Clean hood = left, target bench = left |  | vol/tube |  | 17 |  | 200uL of 7.525E12c/uL via 25uL 100uM 7/16/24 into 175uL water | [6 empty] | 3 | 1: Add 17.5uL probe to 2.5X MM
PCR instrument = Quant | [12 empty] | 4 | 1: Add 35uL probe to 5X MM
SensiFAST Probe No-ROX Kit (BIO-86005) | LOT = # SFPN-323412A | o 9/4/24 | [10 empty] | 5 | 1: Pipet 18uL MM per NTC well
LC Green Plus (BioFire Cat # BCHM-ASY-0005, LOT 302124), 10X in 10mM Tris-HCl, o 6/20/24, stored in ClRm FridgeB | [12 empty] | 6 | 1: Add 2uL water per NTC well
SYBR Green I nucleic acid gel stain (Signa S9430_0.5ML) 10,000X in DMSO - LOT #SLBD8080V |  | 8/19/24 prep 10X SYBR via 1uL 10,000X into 999uL water | [10 empty] | 7 | 1: Put 72uL MM into new tubes (4rxns * 18uL/rxn)
7/16/24 prep 10uM REV MEP353 from 6/3/24 stocks, 9/5 prep 10uM FWD MEP352 |  | 9/4/24 prep 1uM REV primer MEP353 from 7/16/24 10uM | [10 empty] | 8 | 1: Add 8uL target (4rxns * 2uL/rxn) @ 10^6 c/uL WT (MEP491-2)
7/16/24 prep Blocked WT rpoB Melt Probe MEP477 around I491 in -80 box rpoB-I491F Melt Probe as 7.525E12c/uL in water | [12 empty] | 9 | 1: Pipet 20uL each MM tube per well
8/19/24 prep ds I491 geneblocks - 327bp for overlap with Andre assay - MEP491-2 WT 10^6c/uL
8/30 prep I491 WT LDNA TXR 5' FWD and unlabeled REV as 100uM in 1X TE, single strand as 4E12c/uL in water, 1-1 ratios with 2E11 or 1E11 or 0.5E11 c/uL per strand in water | [12 empty] | Prep new MEP477 I491 blocked probe aliq
9/2 prep I491 WT LDNA TXR 5' FWD and unlabeled REV as 1-1 ratio of strands at 2E11 or 1E11 or 0.5E11 c/uL per strand in water | [12 empty] | 200uL of 7.525E12c/uL via 25uL 100uM 7/16/24 into 175uL water
9/3 prep I491 WT LDNA TXR 5' FWD and unlabeled REV as 1-1 ratio of strands at 2.5E10 or 1.25E10 or 6.25E9 c/uL per strand in water
9/4 prep I491 WT LDNA TXR 5' FWD and unlabeled REV as 1-1 ratio of strands at 9.375E9 c/uL per strand in water
9/4 prep I491 WT LDNA TXR 5' FWD and unlabeled REV as 1-1 ratio of strands at 3E10, 2E10, 1.5E10 c/uL per strand in water
Component | [Stock] (uM) | [Working] (uM) | [Rxn] (uM) | [Rxn] (nM) |  | Volume (uL) added per rxn | Sequence | Source
rpoB F Primer (MEP352) | 100 | 10 | 0.25 | 250 |  | 0.5 |  | MEP352
rpoB R Primer (MEP353) | 100 | 1 | 0.025 | 25 |  | 0.5 |  | MEP353
DNA | Classification | AA Change | Base Change | ID | Oligo Length | Oligo Sequence
Location: -20C, rpob - I491 F pink box from 6/3/24
Note w/r to mutants: SNP underlined in red
Using LDNA ss LDNA stock - at roughly 7.525E12c/uL via non-naodropped p28 E206 guided F/R dilutions on 9/26 --> nb5 p12 total conc from 100nM primer is 1.204E12c - equates to 6.02E11c each FWD/REV **stored in clean room freezer!
10/2+10/3+11/29/23 prep 1-3 FQ LDNA (7.525E11c FWD) - 1-3 with 1E11c FWD via (39.87uL 1-3 7.525E11c 10/2/23) + (260.13uL water)

## SensiFAST .25x probe
294 - SensiFAST Probe No Rox
Date | 2024-09-05
|  |  | # of Samples | 5 |  |  |  |  | Build off Expt E289 cycling Quant - iFRET
Kit = SensiFAST Probe No-ROX Kit (BIO-86005) |  | WT with SYBR no LDNA - 1.881E12c/uL (0.25X excess primer) | [6 empty] | PCR + post-melt: 0.025C/s on continuous melt per literature support |  |  | 8/30/24 L-DNA dilutions of 4E12c/uL from 100uM stocks
LOT = # SFPN-323308A |  |  | # of Rxns | [6 empty] | Temp (ºC) | Time (mm:ss)
|  |  | 1 | 7 |  |  |  |  | Polymerase Activation | 95 | 2:00 | Want 4E11, 2E11, 1E11 copies per rxn
Component | [Working] | [Final Rxn uM] | Single Rxn Vol (uL) | Full Rxn Vol (uL) | Check off Component |  |  |  | Melt / Denaturation (Cycling A) | 95 | 0:05 | ---- will turn into E11 copies per rxn bc (2uL LDNA / 20uL rxn) * (4E12c LDNA/uL) = 4E11c LDNA/rxn
Nuclease-free water |  |  | 4.75 | 33.25 |  | Nuclease-free water |  |  | Anneal / Extension (Cycling B) *acquire* | 57 | 0:20
rpoB F Primer (MEP352) | 10 uM | 0.25 | 0.5 | 3.5 |  | rpoB F Primer (MEP352) |  |  | # of cycles | 40 |  | Making 1-1 Ratio for 4E11c per strand in rxn
rpoB R Primer (MEP353) | 1 uM | 0.025 | 0.5 | 3.5 |  | rpoB R Primer (MEP353) |  |  | Anneal / Hybridiization of L-DNA *aquire* | 95C to 50C |  | 5uL per strand @ 4E12c/uL into 90uL water
SensiFAST Probe No-ROX Kit | 2X | 1X | 10 | 70 |  | SensiFAST Probe No-ROX Kit |  |  | Melt Analysis *aquire* | 65C to 90C |  | uL fwd | c/uL fwd | uL rcomp | c/uL rcomp | total volume uL | c/2uL total soln fwd | c/2uL total soln rcomp
SYBR Green I | 10X | 1X | 2 | 14 |  | SYBR Green I |  |  | Custom melt // targets: no passive reference, optical filters x1 (excitation 470+/-15nm), m1 (emission 520+/-15nm), m4 (emission 623+/-14nm), reporters: SYBR-none with ROX-none |  |  | 5 | 4000000000000 | 5 | 4000000000000 | 100 | 400000000000 | 400000000000
= 2E11 c/1uL
| c/uL probe (below) | c/uL probe (below) | [9 empty] | Making 1-1 Ratio for 2E11c per strand in rxn
Blocked Melt Probe = MEP477 (C3+ rpoB WT @ I491) | 7525000000000 | 1881250000000 | 0.25 | 1.75 | Probe |  |  |  | PCR: 1.6C/s to 95C 2m, 1.6C/s to 95C 5s, 1.6C/s to 57C, 20s acq (40X PCR 95/57) |  |  | 5uL per strand @ 4E12c/uL into 190uL water
Target = WT Geneblock (MEP491-2) @ 10^6c/uL vs water (NTC) | 10^6 c/uL |  | 2 | Add sep | Target | [6 empty] | uL fwd | c/uL fwd | uL rcomp | c/uL rcomp | total volume uL | c/2uL total soln fwd | c/2uL total soln rcomp
|  | total volume | 20 | [5 empty] | Melt: 1.6C/s to 95C 2m, 0.1C/s to 50C 15s, 1.6C/s to 65C 1m, 0.025C/s acq continuous to 90C 15s |  |  | 5 | 4000000000000 | 5 | 4000000000000 | 200 | 200000000000 | 200000000000
|  | sum | 20 | 124.25 | [13 empty] | = 1E11 c/1uL
|  | vol/tube |  | 17.75 | [7 empty] | Making 1-1 Ratio for 1E11c per strand in rxn
5uL per strand @ 4E12c/uL into 390uL water
[12 empty] | uL fwd | c/uL fwd | uL rcomp | c/uL rcomp | total volume uL | c/2uL total soln fwd | c/2uL total soln rcomp
[12 empty] | 5 | 4000000000000 | 5 | 4000000000000 | 400 | 100000000000 | 100000000000
= 0.5E11 c/1uL
9/3/24 L-DNA dilutions of 0.5E11c/uL (aka 5E10c/uL) each strand 1-1
Making 1-1 Ratio for 5E10c per strand in rxn (via 2.5E10c/uL)
100uL of 1-1 mix at 5E10c/uL into 100uL water
[12 empty] | c per strand/1uL | c per strand/2uL
[12 empty] | 25000000000 | 50000000000
Making 1-1 Ratio for 2.5E10c per strand in rxn (via 1.25E10c/uL)
100uL of 1-1 mix at 2.5E10c/uL into 100uL water
[12 empty] | c per strand/1uL | c per strand/2uL
[12 empty] | 12500000000 | 25000000000
Making 1-1 Ratio for 1.25E10c per strand in rxn (via 6.25E9c/uL)
100uL of 1-1 mix at 1.25E10c/uL into 100uL water
[12 empty] | c per strand/1uL | c per strand/2uL
Component | [Stock] (uM) | [Working] (uM) | [Rxn] (uM) | [Rxn] (nM) |  | Volume (uL) added per rxn | Sequence | Source |  |  |  | 6250000000 | 12500000000
rpoB F Primer (MEP352) | 100 | 10 | 0.25 | 250 |  | 0.5 |  | MEP352
rpoB R Primer (MEP353) | 100 | 1 | 0.025 | 25 |  | 0.5 |  | MEP353
DNA | Classification | AA Change | Base Change | ID | Oligo Length | Oligo Sequence
Location: -20C, rpob - I491 F pink box from 6/3/24
Note w/r to mutants: SNP underlined in red
Using LDNA ss LDNA stock - at roughly 7.525E12c/uL via non-naodropped p28 E206 guided F/R dilutions on 9/26 --> nb5 p12 total conc from 100nM primer is 1.204E12c - equates to 6.02E11c each FWD/REV **stored in clean room freezer!
10/2+10/3+11/29/23 prep 1-3 FQ LDNA (7.525E11c FWD) - 1-3 with 1E11c FWD via (39.87uL 1-3 7.525E11c 10/2/23) + (260.13uL water)

## SensiFAST 2.5x probe
294 - SensiFAST Probe No Rox
Date | 2024-09-05
|  |  | # of Samples | 5 |  |  |  |  | Build off Expt E289 cycling Quant - iFRET
Kit = SensiFAST Probe No-ROX Kit (BIO-86005) |  | WT with SYBR no LDNA - 1.881E13c/uL (2.5X excess primer) | [6 empty] | PCR + post-melt: 0.025C/s on continuous melt per literature support |  |  | 8/30/24 L-DNA dilutions of 4E12c/uL from 100uM stocks
LOT = # SFPN-323308A |  |  | # of Rxns | [6 empty] | Temp (ºC) | Time (mm:ss)
|  |  | 1 | 7 |  |  |  |  | Polymerase Activation | 95 | 2:00 | Want 4E11, 2E11, 1E11 copies per rxn
Component | [Working] | [Final Rxn uM] | Single Rxn Vol (uL) | Full Rxn Vol (uL) | Check off Component |  |  |  | Melt / Denaturation (Cycling A) | 95 | 0:05 | ---- will turn into E11 copies per rxn bc (2uL LDNA / 20uL rxn) * (4E12c LDNA/uL) = 4E11c LDNA/rxn
Nuclease-free water |  |  | 2.5 | 17.5 |  | Nuclease-free water |  |  | Anneal / Extension (Cycling B) *acquire* | 57 | 0:20
rpoB F Primer (MEP352) | 10 uM | 0.25 | 0.5 | 3.5 |  | rpoB F Primer (MEP352) |  |  | # of cycles | 40 |  | Making 1-1 Ratio for 4E11c per strand in rxn
rpoB R Primer (MEP353) | 1 uM | 0.025 | 0.5 | 3.5 |  | rpoB R Primer (MEP353) |  |  | Anneal / Hybridiization of L-DNA *aquire* | 95C to 50C |  | 5uL per strand @ 4E12c/uL into 90uL water
SensiFAST Probe No-ROX Kit | 2X | 1X | 10 | 70 |  | SensiFAST Probe No-ROX Kit |  |  | Melt Analysis *aquire* | 65C to 90C |  | uL fwd | c/uL fwd | uL rcomp | c/uL rcomp | total volume uL | c/2uL total soln fwd | c/2uL total soln rcomp
SYBR Green I | 10X | 1X | 2 | 14 |  | SYBR Green I |  |  | Custom melt // targets: no passive reference, optical filters x1 (excitation 470+/-15nm), m1 (emission 520+/-15nm), m4 (emission 623+/-14nm), reporters: SYBR-none with ROX-none |  |  | 5 | 4000000000000 | 5 | 4000000000000 | 100 | 400000000000 | 400000000000
= 2E11 c/1uL
| c/uL probe (below) | c/uL probe (below) | [9 empty] | Making 1-1 Ratio for 2E11c per strand in rxn
Blocked Melt Probe = MEP477 (C3+ rpoB WT @ I491) | 7525000000000 | 18812500000000 | 2.5 | 17.5 | Probe |  |  |  | PCR: 1.6C/s to 95C 2m, 1.6C/s to 95C 5s, 1.6C/s to 57C, 20s acq (40X PCR 95/57) |  |  | 5uL per strand @ 4E12c/uL into 190uL water
Target = WT Geneblock (MEP491-2) @ 10^6c/uL vs water (NTC) | 10^6 c/uL |  | 2 | Add sep | Target | [6 empty] | uL fwd | c/uL fwd | uL rcomp | c/uL rcomp | total volume uL | c/2uL total soln fwd | c/2uL total soln rcomp
|  | total volume | 20 | [5 empty] | Melt: 1.6C/s to 95C 2m, 0.1C/s to 50C 15s, 1.6C/s to 65C 1m, 0.025C/s acq continuous to 90C 15s |  |  | 5 | 4000000000000 | 5 | 4000000000000 | 200 | 200000000000 | 200000000000
|  | sum | 20 | 108.5 | [13 empty] | = 1E11 c/1uL
|  | vol/tube |  | 15.5 | [7 empty] | Making 1-1 Ratio for 1E11c per strand in rxn
5uL per strand @ 4E12c/uL into 390uL water
[12 empty] | uL fwd | c/uL fwd | uL rcomp | c/uL rcomp | total volume uL | c/2uL total soln fwd | c/2uL total soln rcomp
[12 empty] | 5 | 4000000000000 | 5 | 4000000000000 | 400 | 100000000000 | 100000000000
= 0.5E11 c/1uL
9/3/24 L-DNA dilutions of 0.5E11c/uL (aka 5E10c/uL) each strand 1-1
Making 1-1 Ratio for 5E10c per strand in rxn (via 2.5E10c/uL)
100uL of 1-1 mix at 5E10c/uL into 100uL water
[12 empty] | c per strand/1uL | c per strand/2uL
[12 empty] | 25000000000 | 50000000000
Making 1-1 Ratio for 2.5E10c per strand in rxn (via 1.25E10c/uL)
100uL of 1-1 mix at 2.5E10c/uL into 100uL water
[12 empty] | c per strand/1uL | c per strand/2uL
[12 empty] | 12500000000 | 25000000000
Making 1-1 Ratio for 1.25E10c per strand in rxn (via 6.25E9c/uL)
100uL of 1-1 mix at 1.25E10c/uL into 100uL water
[12 empty] | c per strand/1uL | c per strand/2uL
Component | [Stock] (uM) | [Working] (uM) | [Rxn] (uM) | [Rxn] (nM) |  | Volume (uL) added per rxn | Sequence | Source |  |  |  | 6250000000 | 12500000000
rpoB F Primer (MEP352) | 100 | 10 | 0.25 | 250 |  | 0.5 |  | MEP352
rpoB R Primer (MEP353) | 100 | 1 | 0.025 | 25 |  | 0.5 |  | MEP353
DNA | Classification | AA Change | Base Change | ID | Oligo Length | Oligo Sequence
Location: -20C, rpob - I491 F pink box from 6/3/24
Note w/r to mutants: SNP underlined in red
Using LDNA ss LDNA stock - at roughly 7.525E12c/uL via non-naodropped p28 E206 guided F/R dilutions on 9/26 --> nb5 p12 total conc from 100nM primer is 1.204E12c - equates to 6.02E11c each FWD/REV **stored in clean room freezer!
10/2+10/3+11/29/23 prep 1-3 FQ LDNA (7.525E11c FWD) - 1-3 with 1E11c FWD via (39.87uL 1-3 7.525E11c 10/2/23) + (260.13uL water)

## SensiFAST 5x probe
294 - SensiFAST Probe No Rox
Date | 2024-09-05
|  |  | # of Samples | 5 |  |  |  |  | Build off Expt E289 cycling Quant - iFRET
Kit = SensiFAST Probe No-ROX Kit (BIO-86005) |  | WT with SYBR no LDNA - 3.763E13c/uL (5X excess primer) | [6 empty] | PCR + post-melt: 0.025C/s on continuous melt per literature support |  |  | 8/30/24 L-DNA dilutions of 4E12c/uL from 100uM stocks
LOT = # SFPN-323308A |  |  | # of Rxns | [6 empty] | Temp (ºC) | Time (mm:ss)
|  |  | 1 | 7 |  |  |  |  | Polymerase Activation | 95 | 2:00 | Want 4E11, 2E11, 1E11 copies per rxn
Component | [Working] | [Final Rxn uM] | Single Rxn Vol (uL) | Full Rxn Vol (uL) | Check off Component |  |  |  | Melt / Denaturation (Cycling A) | 95 | 0:05 | ---- will turn into E11 copies per rxn bc (2uL LDNA / 20uL rxn) * (4E12c LDNA/uL) = 4E11c LDNA/rxn
Nuclease-free water |  |  | 0 | 0 |  | Nuclease-free water |  |  | Anneal / Extension (Cycling B) *acquire* | 57 | 0:20
rpoB F Primer (MEP352) | 10 uM | 0.25 | 0.5 | 3.5 |  | rpoB F Primer (MEP352) |  |  | # of cycles | 40 |  | Making 1-1 Ratio for 4E11c per strand in rxn
rpoB R Primer (MEP353) | 1 uM | 0.025 | 0.5 | 3.5 |  | rpoB R Primer (MEP353) |  |  | Anneal / Hybridiization of L-DNA *aquire* | 95C to 50C |  | 5uL per strand @ 4E12c/uL into 90uL water
SensiFAST Probe No-ROX Kit | 2X | 1X | 10 | 70 |  | SensiFAST Probe No-ROX Kit |  |  | Melt Analysis *aquire* | 65C to 90C |  | uL fwd | c/uL fwd | uL rcomp | c/uL rcomp | total volume uL | c/2uL total soln fwd | c/2uL total soln rcomp
SYBR Green I | 10X | 1X | 2 | 14 |  | SYBR Green I |  |  | Custom melt // targets: no passive reference, optical filters x1 (excitation 470+/-15nm), m1 (emission 520+/-15nm), m4 (emission 623+/-14nm), reporters: SYBR-none with ROX-none |  |  | 5 | 4000000000000 | 5 | 4000000000000 | 100 | 400000000000 | 400000000000
= 2E11 c/1uL
| c/uL probe (below) | c/uL probe (below) | [9 empty] | Making 1-1 Ratio for 2E11c per strand in rxn
Blocked Melt Probe = MEP477 (C3+ rpoB WT @ I491) | 7525000000000 | 37625000000000 | 5 | 35 | Probe |  |  |  | PCR: 1.6C/s to 95C 2m, 1.6C/s to 95C 5s, 1.6C/s to 57C, 20s acq (40X PCR 95/57) |  |  | 5uL per strand @ 4E12c/uL into 190uL water
Target = WT Geneblock (MEP491-2) @ 10^6c/uL vs water (NTC) | 10^6 c/uL |  | 2 | Add sep | Target | [6 empty] | uL fwd | c/uL fwd | uL rcomp | c/uL rcomp | total volume uL | c/2uL total soln fwd | c/2uL total soln rcomp
|  | total volume | 20 | [5 empty] | Melt: 1.6C/s to 95C 2m, 0.1C/s to 50C 15s, 1.6C/s to 65C 1m, 0.025C/s acq continuous to 90C 15s |  |  | 5 | 4000000000000 | 5 | 4000000000000 | 200 | 200000000000 | 200000000000
|  | sum | 20 | 91 | [13 empty] | = 1E11 c/1uL
|  | vol/tube |  | 13 | [7 empty] | Making 1-1 Ratio for 1E11c per strand in rxn
5uL per strand @ 4E12c/uL into 390uL water
[12 empty] | uL fwd | c/uL fwd | uL rcomp | c/uL rcomp | total volume uL | c/2uL total soln fwd | c/2uL total soln rcomp
[12 empty] | 5 | 4000000000000 | 5 | 4000000000000 | 400 | 100000000000 | 100000000000
= 0.5E11 c/1uL
9/3/24 L-DNA dilutions of 0.5E11c/uL (aka 5E10c/uL) each strand 1-1
Making 1-1 Ratio for 5E10c per strand in rxn (via 2.5E10c/uL)
100uL of 1-1 mix at 5E10c/uL into 100uL water
[12 empty] | c per strand/1uL | c per strand/2uL
[12 empty] | 25000000000 | 50000000000
Making 1-1 Ratio for 2.5E10c per strand in rxn (via 1.25E10c/uL)
100uL of 1-1 mix at 2.5E10c/uL into 100uL water
[12 empty] | c per strand/1uL | c per strand/2uL
[12 empty] | 12500000000 | 25000000000
Making 1-1 Ratio for 1.25E10c per strand in rxn (via 6.25E9c/uL)
100uL of 1-1 mix at 1.25E10c/uL into 100uL water
[12 empty] | c per strand/1uL | c per strand/2uL
Component | [Stock] (uM) | [Working] (uM) | [Rxn] (uM) | [Rxn] (nM) |  | Volume (uL) added per rxn | Sequence | Source |  |  |  | 6250000000 | 12500000000
rpoB F Primer (MEP352) | 100 | 10 | 0.25 | 250 |  | 0.5 |  | MEP352
rpoB R Primer (MEP353) | 100 | 1 | 0.025 | 25 |  | 0.5 |  | MEP353
DNA | Classification | AA Change | Base Change | ID | Oligo Length | Oligo Sequence
Location: -20C, rpob - I491 F pink box from 6/3/24
Note w/r to mutants: SNP underlined in red
Using LDNA ss LDNA stock - at roughly 7.525E12c/uL via non-naodropped p28 E206 guided F/R dilutions on 9/26 --> nb5 p12 total conc from 100nM primer is 1.204E12c - equates to 6.02E11c each FWD/REV **stored in clean room freezer!
10/2+10/3+11/29/23 prep 1-3 FQ LDNA (7.525E11c FWD) - 1-3 with 1E11c FWD via (39.87uL 1-3 7.525E11c 10/2/23) + (260.13uL water)