## SensiFAST orig
Goal: Repeat successful run E296 3x in triplicate with single aliquot of target 10^6 - this is round 2 (round 1 was E297)
298 - SensiFAST Probe No Rox
Date | 2024-09-11 | Rep2 (same aliq) WT v I491 mutants with SYBR, LDNA at 4E11c/strand/rxn and 0.5X probe (3.7625E12c/uL)
|  |  | # of Samples | 15 |  |  |  |  | Build off Expt E295 cycling Quant - iFRET
Kit = SensiFAST Probe No-ROX Kit (BIO-86005) | [8 empty] | PCR + post-melt: 0.025C/s on continuous melt per literature support | [18 empty] | 8/30/24 L-DNA dilutions of 4E12c/uL from 100uM stocks
LOT = # SFPN-323308A |  |  | # of Rxns | [6 empty] | Temp (ºC) | Time (mm:ss) | 10^6 copies/uL
|  |  | 1 | 20 |  |  |  |  | Polymerase Activation | 95 | 2:00 | Target | Codon | MEP |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Want 4E11, 2E11, 1E11 copies per rxn | [6 empty] | 9/10/24 L-DNA dilutions of 4E12c/uL from 100uM stocks
Component | [Working] | [Final Rxn uM] | Single Rxn Vol (uL) | Full Rxn Vol (uL) | Check off Component |  |  |  | Melt / Denaturation (Cycling A) | 95 | 0:05 | WT I491 | ATC | 491-2 | A | [12 empty] | ---- will turn into E11 copies per rxn bc (2uL LDNA / 20uL rxn) * (4E12c LDNA/uL) = 4E11c LDNA/rxn
Nuclease-free water |  |  | 2.5 | 50 |  | Nuclease-free water |  |  | Anneal / Extension (Cycling B) *acquire* | 57 | 0:20 | I491F | TTC | 492-2 | B | 3: NTC
rpoB F Primer (MEP352) | 10 uM | 0.25 | 0.5 | 10 |  | rpoB F Primer (MEP352) |  |  | # of cycles | 40 |  | I491N | AAC | 493 | C | [12 empty] | Making 1-1 Ratio for 4E11c per strand in rxn
rpoB R Primer (MEP353) | 1 uM | 0.025 | 0.5 | 10 |  | rpoB R Primer (MEP353) |  |  | Anneal / Hybridiization of L-DNA *aquire* | 95C to 50C |  | I491M | ATA | 494 | D | [12 empty] | 5uL per strand @ 4E12c/uL into 90uL water
SensiFAST Probe No-ROX Kit | 2X | 1X | 10 | 200 |  | SensiFAST Probe No-ROX Kit |  |  | Melt Analysis *aquire* | 65C to 90C |  |  |  |  | E | 3: MEP491-2; 8: MEP492-2 | uL fwd | c/uL fwd | uL rcomp | c/uL rcomp | total volume uL | c/2uL total soln fwd | c/2uL total soln rcomp | uL fwd | c/uL fwd | uL rcomp | c/uL rcomp | total volume uL | c/2uL total soln fwd | c/2uL total soln rcomp
SYBR Green I | 10X | 1X | 2 | 40 |  | SYBR Green I |  |  | Custom melt // targets: no passive reference, optical filters x1 (excitation 470+/-15nm), m1 (emission 520+/-15nm), m4 (emission 623+/-14nm), reporters: SYBR-none with ROX-none |  |  | Per Rxn |  |  | F | [12 empty] | 5 | 4000000000000 | 5 | 4000000000000 | 100 | 400000000000 | 400000000000 | 5 | 4000000000000 | 5 | 4000000000000 | 100 | 400000000000 | 400000000000
LDNA = 1:1 mix with 2E11c/uL | 2E11 c/uL per strand | 4E11 c/strand/rxn | 2 | 40 |  | LDNA = 1:1 mix with 2E11c/uL | [5 empty] | Add 0.5uL probe (7.525E12c/uL) per rxn |  |  | G | 3: MEP493; 8: MEP494 | [6 empty] | = 2E11 c/1uL | [6 empty] | = 2E11 c/1uL
| c/uL probe (below) | c/uL probe (below) | [9 empty] | Add 2uL target (10^6c/uL) or 2uL water per rxn |  |  | H | [12 empty] | Making 1-1 Ratio for 2E11c per strand in rxn
Blocked Melt Probe = MEP477 (C3+ rpoB WT @ I491) | 7525000000000 | 3762500000000 | 0.5 | 10 | Probe |  |  |  | PCR: 1.6C/s to 95C 2m, 1.6C/s to 95C 5s, 1.6C/s to 57C, 20s acq (40X PCR 95/57) | [18 empty] | 5uL per strand @ 4E12c/uL into 190uL water
Target = WT Geneblock (MEP491-2) @ 10^6c/uL vs water (NTC) | 10^6 c/uL |  | 2 | Add sep | Target | [6 empty] | Prep Steps | [15 empty] | uL fwd | c/uL fwd | uL rcomp | c/uL rcomp | total volume uL | c/2uL total soln fwd | c/2uL total soln rcomp
|  | total volume | 20 | [5 empty] | Melt: 1.6C/s to 95C 2m, 0.1C/s to 50C 15s, 1.6C/s to 65C 1m, 0.025C/s acq continuous to 90C 15s |  |  | 1 | Add 10uL probe (20rxns) using MEP477 @7.525E12c/uL | [14 empty] | 5 | 4000000000000 | 5 | 4000000000000 | 200 | 200000000000 | 200000000000
15 min UV light in clean hood |  | sum | 20 | 350 | [7 empty] | 2 | Pipet 18uL for 3x NTC wells (306uL = 17rxns left) | [20 empty] | = 1E11 c/1uL
Clean hood = left, target bench = left |  | vol/tube |  | 17.5 | [7 empty] | 3 | Add 2uL water to NTC wells | [14 empty] | Making 1-1 Ratio for 1E11c per strand in rxn
PCR instrument = Quant | [11 empty] | 4 | Divide MM into 4 new tubes of 72uL (4rxns worth of 18uL each rxn - 18uL spare in mega MM) | [14 empty] | 5uL per strand @ 4E12c/uL into 390uL water
SensiFAST Probe No-ROX Kit (BIO-86005) | LOT = # SFPN-323412A | o 9/11/24 | [9 empty] | 5 | Add 8uL target to each MM tube (4rxns @2uL/rxn) | [14 empty] | uL fwd | c/uL fwd | uL rcomp | c/uL rcomp | total volume uL | c/2uL total soln fwd | c/2uL total soln rcomp
LC Green Plus (BioFire Cat # BCHM-ASY-0005, LOT 302124), 10X in 10mM Tris-HCl, o 6/20/24, stored in ClRm FridgeB | [11 empty] | 6 | Pipet 20uL of MM per well | [14 empty] | 5 | 4000000000000 | 5 | 4000000000000 | 400 | 100000000000 | 100000000000
SYBR Green I nucleic acid gel stain (Signa S9430_0.5ML) 10,000X in DMSO - LOT #SLBD8080V |  | 9/11/24 prep 10X SYBR via 1uL 10,000X into 999uL water | [31 empty] | = 0.5E11 c/1uL
7/16/24 prep 10uM REV MEP353 from 6/3/24 stocks, 9/5 prep 10uM FWD MEP352 |  | 9/4/24 prep 1uM REV primer MEP353 from 7/16/24 10uM
9/5/24 and 7/16/24 prep Blocked WT rpoB Melt Probe MEP477 around I491 in -80 box rpoB-I491F Melt Probe as 7.525E12c/uL in water
8/19/24 prep ds I491 geneblocks WT (MEP491-2), I491N (MEP493). I491M (MEP494) - 327bp for overlap with Andre assay - 9/2/24 prep I491F (MEP492-2) | [27 empty] | 9/3/24 L-DNA dilutions of 0.5E11c/uL (aka 5E10c/uL) each strand 1-1
9/11/24 prep ds I491 geneblocks @ 10^6c/uL 35uL aliq via 8/19 10^7 aliq WT (MEP491-2), I491F (MEP492-2), I491N (MEP493). I491M (MEP494) - 327bp for overlap with Andre assay
8/30 prep I491 WT LDNA TXR 5' FWD and unlabeled REV as 100uM in 1X TE, single strand as 4E12c/uL in water | [27 empty] | Making 1-1 Ratio for 5E10c per strand in rxn (via 2.5E10c/uL)
9/10/24 prep I491 WT LDNA TXR 5' FWD and unlabeled REV as 1-1 ratio with 2E11 c/uL per strand in water | [27 empty] | 100uL of 1-1 mix at 5E10c/uL into 100uL water
[28 empty] | c per strand/1uL | c per strand/2uL
[28 empty] | 25000000000 | 50000000000
8/30 prep I491 WT LDNA TXR 5' FWD and unlabeled REV as 100uM in 1X TE, single strand as 4E12c/uL in water, 1-1 ratios with 2E11 or 1E11 or 0.5E11 c/uL per strand in water
9/2 prep I491 WT LDNA TXR 5' FWD and unlabeled REV as 1-1 ratio of strands at 2E11 or 1E11 or 0.5E11 c/uL per strand in water | [27 empty] | Making 1-1 Ratio for 2.5E10c per strand in rxn (via 1.25E10c/uL)
9/3 prep I491 WT LDNA TXR 5' FWD and unlabeled REV as 1-1 ratio of strands at 2.5E10 or 1.25E10 or 6.25E9 c/uL per strand in water | [27 empty] | 100uL of 1-1 mix at 2.5E10c/uL into 100uL water
9/4 prep I491 WT LDNA TXR 5' FWD and unlabeled REV as 1-1 ratio of strands at 9.375E9 c/uL per strand in water | [27 empty] | c per strand/1uL | c per strand/2uL
9/4 prep I491 WT LDNA TXR 5' FWD and unlabeled REV as 1-1 ratio of strands at 3E10, 2E10, 1.5E10 c/uL per strand in water | [27 empty] | 12500000000 | 25000000000
Making 1-1 Ratio for 1.25E10c per strand in rxn (via 6.25E9c/uL)
100uL of 1-1 mix at 1.25E10c/uL into 100uL water
[28 empty] | c per strand/1uL | c per strand/2uL
Component | [Stock] (uM) | [Working] (uM) | [Rxn] (uM) | [Rxn] (nM) |  | Volume (uL) added per rxn | Sequence | Source | [19 empty] | 6250000000 | 12500000000
rpoB F Primer (MEP352) | 100 | 10 | 0.25 | 250 |  | 0.5 |  | MEP352
rpoB R Primer (MEP353) | 100 | 1 | 0.025 | 25 |  | 0.5 |  | MEP353
DNA | Classification | AA Change | Base Change | ID | Oligo Length | Oligo Sequence
Location: -20C, rpob - I491 F pink box from 6/3/24
Note w/r to mutants: SNP underlined in red
Using LDNA ss LDNA stock - at roughly 7.525E12c/uL via non-naodropped p28 E206 guided F/R dilutions on 9/26 --> nb5 p12 total conc from 100nM primer is 1.204E12c - equates to 6.02E11c each FWD/REV **stored in clean room freezer!
10/2+10/3+11/29/23 prep 1-3 FQ LDNA (7.525E11c FWD) - 1-3 with 1E11c FWD via (39.87uL 1-3 7.525E11c 10/2/23) + (260.13uL water)