## SensiFAST orig
Goal: 6th Quant Repeat and 5th Miiddle Rotorgene repeat of successful run I491F assay in triplicate! Needed fresh SYBR aliq in 1X TE bc a few weeks old and seemed to deterioriate to low signals on Swesh E43/44 on 12/3/24
Expt 332
Date | 2024-12-04 | Triplicate I491 L assay in middle rotorgene AND Quant - 1Cstep5Shold - with SYBR, LDNA at 4E11c/strand/rxn and 0.5X probe (3.7625E12c/uL)
|  |  | # of Samples | 30 |  |  |  |  | Build off Expt E299 cycling Quant - iFRET |  |  | DO SECOND!!!!
Kit = SensiFAST Probe No-ROX Kit (BIO-86005) | [8 empty] | PCR + post-melt: 0.025C/s on continuous melt per literature support
LOT = # SFPN-323308A |  |  | # of Rxns | [6 empty] | Temp (ºC) | Time (mm:ss) | 10^6 copies/uL
|  |  | 1 | 35 |  |  |  |  | Polymerase Activation | 95 | 2:00 | Target | Codon | MEP |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Component | [Working] | [Final Rxn uM] | Single Rxn Vol (uL) | Full Rxn Vol (uL) | Check off Component |  |  |  | Melt / Denaturation (Cycling A) | 95 | 0:05 | WT I491 | ATC | 491-2 |  | A
Nuclease-free water |  |  | 2.5 | 87.5 |  | Nuclease-free water |  |  | Anneal / Extension (Cycling B) *acquire* | 57 | 0:20 | I491F | TTC | 492-2 |  | B | 3: NTC
rpoB F Primer (MEP352) | 10 uM | 0.25 | 0.5 | 17.5 |  | rpoB F Primer (MEP352) |  |  | # of cycles | 40 |  | I491N | AAC | 493 |  | C
rpoB R Primer (MEP353) | 1 uM | 0.025 | 0.5 | 17.5 |  | rpoB R Primer (MEP353) |  |  | Anneal / Hybridiization of L-DNA *aquire* | 95C to 50C |  | I491M | ATA | 494 |  | D
SensiFAST Probe No-ROX Kit | 2X | 1X | 10 | 350 |  | SensiFAST Probe No-ROX Kit |  |  | Melt Analysis *aquire* | 65C to 90C | [5 empty] | E | 3: MEP491-2; 8: MEP492-2
SYBR Green I | 10X | 1X | 2 | 70 |  | SYBR Green I |  |  | Custom melt // targets: no passive reference, optical filters x1 (excitation 470+/-15nm), m1 (emission 520+/-15nm), m4 (emission 623+/-14nm), reporters: SYBR-none with ROX-none |  |  | Per Rxn |  |  |  | F
LDNA = 1:1 mix with 2E11c/uL | 2E11 c/uL per strand | 4E11 c/strand/rxn | 2 | 70 |  | LDNA = 1:1 mix with 2E11c/uL | [5 empty] | Add 0.5uL probe (7.525E12c/uL) per rxn |  |  |  | G | 3: MEP493; 8: MEP494
| c/uL probe (below) | c/uL probe (below) | [9 empty] | Add 2uL target (10^6c/uL) or 2uL water per rxn |  |  |  | H
Blocked Melt Probe = MEP477 (C3+ rpoB WT @ I491) | 7525000000000 | 3762500000000 | 0.5 | 17.5 | Probe |  |  |  | PCR: 1.6C/s to 95C 2m, 1.6C/s to 95C 5s, 1.6C/s to 57C, 20s acq (40X PCR 95/57)
Target = WT and mutants @ 10^6c/uL vs water (NTC) | 10^6 c/uL |  | 2 | Add sep | Target | [6 empty] | Prep Steps
|  | total volume | 20 | [5 empty] | Melt: 1.6C/s to 95C 2m, 0.1C/s to 50C 15s, 1.6C/s to 65C 1m, 0.025C/s acq continuous to 90C 15s |  |  | 1 | Do rotorgene first!
15 min UV light in clean hood |  | sum | 20 | 612.5 | [7 empty] | 2 | Pipet 18uL MM into 15 wells
Clean hood = left, target bench = left |  | vol/tube |  | 17.5 | [7 empty] | 3 | Add 2uL water to 3 NTC wells
PCR instrument = Quant AND middle rotorgene | [11 empty] | 4 | Add 2uL 10^6 target to each set of 3 sample wells
SensiFAST Probe No-ROX Kit (BIO-86005) | LOT = # SFPN-323412A | o 12/2/24
LC Green Plus (BioFire Cat # BCHM-ASY-0005, LOT 302124), 10X in 10mM Tris-HCl, o 6/20/24, stored in ClRm FridgeB
SYBR Green I nucleic acid gel stain (Signa S9430_0.5ML) 10,000X in DMSO - LOT #SLBD8080V |  | 12/3/24 prep 10X SYBR in 1X TE
10/16/24 prep 1uM REV MEP353, 10/15 prep 10uM FWD MEP352
10/14/24 prep Blocked WT rpoB Melt Probe MEP477 around I491 in -80 box rpoB-I491F Melt Probe as 7.525E12c/uL in water | [8 empty] | Build off Rotorgene E315 Template 1C step, 5s hold - iFRET |  | Rotorgene | DO FIRST!!!!
10/14/24 prep ds I491 geneblocks WT (MEP491-2), 8/19 prep I491N (MEP493), 9/11 prep I491M (MEP494) - 327bp for overlap with Andre assay - 9/2/24 prep I491F (MEP492-2) | [8 empty] | PCR + post-melt: close mimic of QuantStudio5 0.025C/s on continuous melt per literature support
12/2/24 prep I491 WT LDNA TXR 5' FWD and unlabeled REV as 1-1 ratio with 2E11 c/uL per strand in water | [9 empty] | Temp (ºC) | Time (mm:ss) | 10^6 copies/uL |  |  | Rotate for drifting |  | 2: Per Rxn
[9 empty] | Polymerase Activation | 95 | 2:00 | Target | Codon | MEP | Rotor Slots |  | 2: Add 0.5uL probe (7.525E12c/uL) per rxn
[9 empty] | Melt / Denaturation (Cycling A) | 95 | 0:05 | NTC | - | - | 1,6,11 |  | 2: Add 2uL target (10^6c/uL) or 2uL water per rxn
[9 empty] | Anneal / Extension (Cycling B) *acquire* | 57 | 0:20 | WT I491 | ATC | 491-2 | 2,7,12
[9 empty] | # of cycles | 40 |  | I491F | TTC | 492-2 | 3,8,13
[9 empty] | Anneal / Hybridiization of L-DNA aquire | 95C to 50C |  | I491N | AAC | 493 | 4,9,14
[9 empty] | Melt Analysis *aquire* | 65C to 90C |  | I491M | ATA | 494 | 5,10,15
Rotorgene: 4 custom channels for acquiring on 57C of PCR and during melting - ex green em orange 5 (source470/detector610/gain5), ex green em orange 7 (source470/detector610/gain7), ex green em orange 9 (source470/detector610/gain9), ex green em green 5 (source470/detector510/gain5), ex green em green 7 (source470/detector510/gain7), ex green em green 9 (source470/detector510/gain9) -- Red are optimal Tm matching filters for WT green to LDNA orange in middle rotorgene
Prep Steps
[12 empty] | 1 | Add 17.5uL probe using MEP477 @7.525E12c/uL
[12 empty] | 2 | Pipet 18uL MM into 15 PCR tubes
[12 empty] | 3 | Add 2uL water to the 3 NTC tubes
[9 empty] | Hold: 95C for 2min |  |  | 4 | Add 2uL 10^6 target to each set of 3 sample tubes
Component | [Stock] (uM) | [Working] (uM) | [Rxn] (uM) | [Rxn] (nM) |  | Volume (uL) added per rxn | Sequence | Source | Cycling: 40 cycles: 95C for 5sec, 57C for 20 sec (acquire on 3 green channels)
rpoB F Primer (MEP352) | 100 | 10 | 0.25 | 250 |  | 0.5 |  | MEP352 | Hybridization: 95C to 50C, fall by 0.1C per step, wait 90sec (can't be modified) pre-melt conditioning on 1st step, wait 1sec after each step afterwards
rpoB R Primer (MEP353) | 100 | 1 | 0.025 | 25 |  | 0.5 |  | MEP353
Melt 2: 65C to 95C, rise by 1C (can't do 0.025) per step, wait 90sec (can't be modified) pre-melt conditioning on 1st step, wait 5sec after each step afterwards (acquire on all 6 channels)
DNA | Classification | AA Change | Base Change | ID | Oligo Length | Oligo Sequence
Location: -20C, rpob - I491 F pink box from 6/3/24
Note w/r to mutants: SNP underlined in red
Using LDNA ss LDNA stock - at roughly 7.525E12c/uL via non-naodropped p28 E206 guided F/R dilutions on 9/26 --> nb5 p12 total conc from 100nM primer is 1.204E12c - equates to 6.02E11c each FWD/REV **stored in clean room freezer!
10/2+10/3+11/29/23 prep 1-3 FQ LDNA (7.525E11c FWD) - 1-3 with 1E11c FWD via (39.87uL 1-3 7.525E11c 10/2/23) + (260.13uL water)